First Revision No. 8757-NFPA 70-2018 [ Section No. 90.3 ]

90.3  Code Arrangement.

This Code is divided into the introduction and nine chapters, as shown in Figure 90.3. Chapters 1, 2, 3, and 4 apply generally. Chapters 5, 6, 7, span with class TopicLink." previous="added-diff-0" changeid="changed-diff-0" next="removed-diff-0" style="text-decoration: underline;">and  7 8 apply to special occupancies, special equipment, or other special conditions, or communications systems and may supplement or modify the requirements in Chapters 1 1 through 7.Chapter span with class TopicLink." previous="removed-diff-3" changeid="changed-diff-1" next="removed-diff-4" style="text-decoration: underline;"> span with class TopicLink." previous="removed-diff-3" changeid="changed-diff-1" next="removed-diff-4" style="text-decoration: underline;">8 covers communications systems and is not subject to the requirements of Chapters 1 through 7 except where the requirements are specifically referenced in Chapter 8.

Chapter 9 consists of tables that are applicable as referenced.

Informative annexes are not part of the requirements of this Code but are included for informational purposes only.

Figure 90.3 Code Arrangement.

Supplemental Information

|  | File Name |  | Description | Approved |
| --- | --- | --- | --- | --- |
|  | FIGURE_90.3_Revisions.docx |  | Revisions to Figure 90.3 | ✓ |

Submitter Information Verification

| Submitter Full Name: ; NEC-CMP Panel 01; ; ; . Organization: ; [ Not Specified ]; . Street Address: ; ; . City: ; ; . State: ; ; . Zip: ; ; . Submittal Date: ; Thu Jan 18 21:03:54 EST 2018; . |  |
| --- | --- |

Committee Statement

| Committee Statement: | To better serve the purpose of the Code as stated in 90.1, chapter 8 is subject to the requirements of chapters 1 through 8. CMP-1 requests that the Correlating Committee review this action in the first draft and second draft stage to determine the impact on telecommunications installations. |
| --- | --- |
| Response Message: |

Public Input No. 2818-NFPA 70-2017 [Section No. 90.3]