IEEE 802.3 Ethernet Working Group
Liaison Communication

| Source: | IEEE 802.3 Working Group |  |
| --- | --- | --- |
| To: | Ray Emplit | Chair, TIA TR-42 Engineering Committee, remplit@harger.com |
| CC: | Konstantinos Karachalios | Secretary, IEEE-SA Standards Board Secretary, IEEE-SA Board of Governors sasecretary@ieee.org |
|  | Paul Nikolich | Chair, IEEE 802 LMSC p.nikolich@ieee.org |
|  | Adam Healey | Vice-chair, IEEE 802.3 Ethernet Working Group adam.healey@broadcom.com |
|  | Pete Anslow | Secretary, IEEE 802.3 Ethernet Working Group panslow@ciena.com |
|  | Valerie Maguire | Liaison Officer, TIA TR-42 to IEEE 802.3, Valerie_Maguire@siemon.com |
|  | Ed Larson | Chair, IEEE-SA SCC18, mailto:ed.larsen@schneider-electric.com |
| From: | David Law | Chair, IEEE 802.3 Ethernet Working Group dlaw@hpe.com |
| Subject: | 2017 National Electrical Code revisions |  |

Dear Mr. Emplit,

We are concerned that the 2017 National Electrical Code® revisions in Table 725.144 have effectively created a “new” class of communication cables for operating temperatures greater than 60°C with designated ampacity limits for powering, without consideration for the transmission characteristics related to the application usage.

At this time, no known IEEE 802.3 communications and/or power delivery have been tested on data center or enterprise Ethernet based communications circuits at 90°C conductor temperature.

Table 725.144 in the 2017 National Electrical Code® revision may apply to communication cables carrying power and data with the implication of applicability to balanced twisted pair structured cabling.  IEEE 802.3 would appreciate TIA TR-42’s assistance in addressing the implications of the 2017 National Electrical Code® revision.

Sincerely,

David Law

Chair, IEEE 802.3 Ethernet Working Group

This document solely represents the views of the IEEE 802.3 Working Group, and does not necessarily represent a position of the IEEE, the IEEE Standards Association, or IEEE 802.