## Slide 1
Some Health & Safety Considerations for Emerging IEEE 802.11 Wireless Systems
Presented by:
Donald J. Bowen, Ph.D.
AT&T Labs
973 236 6789 (voice)
djbowen@att.com

## Slide 2
Health & Safety Issues
Biological effects of exposure of humans to RF energy from clients
Biological effects of exposure of humans to RF energy from base-stations
Effects of exposure of instrumentation to RF energy
  Medical (pacemakers, hearing aids, hospital medical equipment)
  Consumer (VCR, PC)
  Automotive (anti-lock brakes)
  Aircraft (navigational equipment)
Performance effects of the use of portable devices on driving safety
Whatever the public and the media believe are issues!

## Slide 3
What’s at Stake?
If a safety risk exists…
    Industry must be proactive in addressing it
    Must deal straightforwardly with customers
    Must do everything possible from a system and products perspective to ensure the safety of customers
If a safety risk does not exist and misinformation is released, a multibillion dollar business may be jeopardized…
    Consumers will be unnecessarily distressed
    Increased litigation
    Potential of current systems will remain untapped
    Slowed growth of new wireless services
To prudently deal with the situation, risk-management options must be prepared, matched to the degree of risk:
    Education
    Certification
    Labeling
    Design
    Usage Restriction

## Slide 4
Biological Effects of Exposure of Humans to RF Energy
The FCC regulates exposure to Radio Frequency (RF) energy based on a comprehensive review of the scientific literature conducted by expert groups such as the National Council on Radiation Protection and Measurements (NCRP) and the expert committees sponsored by the IEEE.
Although “non-thermal” mechanisms have been postulated, there is no conclusive evidence that confirms the existence of such mechanisms nor is there any meaningful way to relate to human health the postulated effects associated with such mechanisms.
Regulatory limits are set at levels 10 (occupational) to 50 (public) times below the threshold for the most sensitive, reproducible effect that can be related to human health, i.e., disruption of learned behavior in trained animals, which is accompanied by a temperature increase of about 1oC.

## Slide 5
Claims Arise Daily and are Being Investigated…
Headaches?
Electromagnetically “sensitive” individuals?
Many times they have little or no scientific credibility, but…
it is nearly impossible to prove a negative.
Memory Loss?

## Slide 6
AM Radio: 535 - 1605 kHz
CB Radio: 27 MHz
Cordless Phones: 49 MHz
TV Ch 2-6: 54 - 88 MHz
FM Radio: 88 - 108 MHz
Marine Radio: 160 MHz
TV Ch 7-13: 174 - 216 MHz
TV UHF Ch 14-69: 470 - 800 MHz
Cellular Radio, SMR, Paging: 806 - 946 MHz
Antitheft devices: 10 - 20 kHz and/or 915 MHz
Microwave oven: 915 and 2450 MHz
Personal Communication Services: 1800 - 2200 MHz
Intrusion Alarms / door openers: 10.5 GHz
Microwave Radio: 1 - 40 GHz
Satellite Communications: 100 MHz - 275 GHz
Frequency (Hz)
Non-Ionizing Radiation
Ionizing Radiation
Electromagnetic Spectrum
10 3
10 6
10 9
1012
1015
1018
Light
ELF
Radio Frequencies
X-Rays
Gamma Rays

## Slide 7
FCC 96-326 Guidelines for Evaluating the Environmental Effects of RF Radiation
0.03
0.3
3
30
300
3,000
30,000
300,000
Frequency in Megahertz (MHz)
Maximum Power Density, mW/cm2
0.1
0.2
1
5
10
100
General Public Exposure
IEEE 802.11

## Slide 8
AM Radio Tower (50,000 Watts ERP)
Police Station Tower (~300 Watts)
Cellular Tower (~2100 Watts ERP)
Maximum Power Levels From Towers
Source: Federal Communications Commission
20,000
40,000
60,000
80,000
100,000
5,000,000
Watts
UHF TV Tower (5 Million Watts ERP)
FM Radio Tower (100,000 Watts ERP)

## Slide 9
Cordless 900 MHz Telephone
Mobile Cellular Telephone [AMPS]
IEEE 802.11 Client Devices
Maximum Average Power Levels From Devices
Source: Federal Communications Commission; IEEE
1
2
3
4
5
7
Watts
Police and Emergency Worker Handheld Radios
6
Mobile Cellular Telephone [Class IV GSM]

## Slide 10
Power Level as a Function of Distance From Antenna
0.001
0.01
0.1
1.0
10
100
1000
10,000
Distance in meters
Power Density
0.2
0.4
0.6
0.8
1.0
0
1 inch
1 foot
10 feet
100 feet
1 mile
Overall Level = 1/RN
where N = 2 free-field
N = 2 - 4 outdoors (approximately)

## Slide 11
 |  |  |  |  | Specific Absorption Rate (SAR) |  |  | 
SAR Limit (C95.1) = 0.08 W/kg Whole Body Avg. or 1.6 W/kg peak SAR delivered to 1 gram of tissue (continuous exposure) |  |  |  |  |  |  |  | 
 |  |  |  |  |  | Where  = conductivity  = density E = electric field |  | 
 |  | SAR =  * E2  |  |  |  |  |  | 
 | Maximum spatially-averaged incident power density = 0.57 mW/cm2 for whole body exposure |  |  |  |  |  |  | 
 | Tissue |  |  | Conductivity (S/m) |  |  | Density (kg/m3) | 
 | Brain |  |  | 0.86 |  |  | 960 | 
 | Eye |  |  | 1.60 |  |  | 1000 | 
 | Bone |  |  | 0.06 |  |  |  | 
 | Muscle |  |  | 1.30 |  |  |  | 
 |  |  | From Specific Absorption Rate (SAR) Models of the Human Head Exposed to Handheld UHF Portable Radios by R.F.Cleveland, Jr. and T.W.Athey (1989) |  |  |  |  | 
Notes: A 50-fold margin of protection
Similar to CENELEC-1995 in Europe and TTC/MPT-1900 in Japan
(CTIA Resource Manual, 1998)

## Slide 13
http://www.manta.ieee.org/groups/scc28/update.html
The Status of IEEE SCC28 Standards and Projects
04 July 2000
Designation: P1466
Sponsor: Non-Ionizing Radiation
Title: Recommended Practice for the Safe Use of Electromagtnetic Energy Sources,
Equipment and Systems Operating Between 3 kHz and 300 GHz
Status: New Standard Project
Technical Contact: Richard A Tell, Phone:(702) 645-3338, Email: rictell@accessnv.com
**For non-technical questions, including pricing, availability and ordering, please contact IEEE Customer Service at 1-800-678-IEEE (in U.S.and Canada); or 1-732-981-0060 (outside the U.S. and Canada); or send an email to: customer.service@ieee.org
History: PAR APP: Jun 20, 1996
Project scope: Preparation of a guidance document for development of RF safety programs. This standard would provide useful guidance to those implementing ANSI/IEEE C95.1-1992 (IEEE C95.1-1991).
Project purpose: Presently, there exists no recommended approaches for developing safety programs by organizations wishing to implement the use of ANSI/IEEE C95.1-1992. Users would include industrial companies, federal, state and local government agencies. These organizations do not have any documentation of recommended ways for developing and implementing safety programs that are directed to the issue of radio frequency fields. This document would fill this gap in practical guidance.
IEEE SCC28
Notes: http://www.nmjc.org/aoard/HERFR.html

## Slide 14
Designation: P1528
Sponsor: Electromagnetic Energy Product Performance Safety (SCC-34)
Title: Recommended Practice for Determining the Spatial-Peak
Specific Absorption Rate (SAR) in the Human Body Due to Wireless
Communications Devices: Experimental Techniques
Status: New Standard Project
Technical Contact: Howard Bassen, Phone:(301)827-4950, Email: hib@cdrh.fda.gov
**For non-technical questions, including pricing, availability and ordering, please contact IEEE Customer Service at 1-800-678-IEEE (in U.S.and Canada); or 1-732-981-0060 (outside the U.S. and Canada); or send an email to customer.service@ieee.org
History: PAR APP: Mar 19, 1998
Project scope: The scope of this project is to describe the concepts and specify techniques, instruments, calibration techniques, models for validation, uncertainties and limitations of systems used for measuring the electric field strength for purposes of determining the spatial-peak specific absorption rate (SAR) in simulated tissue models, including anatomical models of the human body. This document will not recommend specific SAR values since these are found in other documents, e.g. C95.1- 1991.
Project purpose: The purpose of this document is to specify experimental protocols for the measurement of spatial-peak absorption rates (SAR) in the human body of users of certain hand-held wireless transceivers including cellular and personal communications services (PCS) telephones. The SARs will be determined from electric-field strength measurements made in simulated anatomical tissue models.
IEEE SCC34

## Slide 15
http://www.fcc.gov/oet/rfsafety/
Federal Communications Commission
Documents of interest
OET Bulletin Number 56 (Fourth Edition August 1999)
  Questions and Answers about Biological Effects and Potential Hazards of Radiofrequency Electromagnetic Fields
  This is an informative bulletin written as a result of increasing interest and concern of the public with respect to this issue. The expanding use of radiofrequency technology has resulted in speculation concerning the alleged "electromagnetic pollution" of the environment and the potential dangers of exposure to non-ionizing radiation. This publication is designed to provide factual information to the public by answering some of the most commonly asked questions. It includes the latest information on FCC guidelines for human exposure to RF energy.
Other documents of interest may be found at this site as well.

## Slide 16
http://www.elecenergy.com
Electromagnetic Energy Association
Background: The Electromagnetic Energy Association (EEA) was formed in 1984 to represent a broad range of manufacturers and users of products producing electromagnetic (EM) energy.
Purpose: To work for a responsible and rational public policy regarding electromagnetic energy in the areas of public policy, regulation, research and education.
Member benefits: EEA monitors federal legislation and maintains cooperative relationships with federal agencies with responsibility for electromagnetic energy issues. Fact Sheets, focusing on specific issues, are available to members and the general public. EEA's education programs include a short course that is designed to provide industry representatives a background in the science and technologies, the standards, the practical art of issue management, risk communication and litigation regarding electromagnetic energy (EME). Members share experience relating to political drivers of the issue and issues involving litigation.

## Slide 17
Terminal Power Requirements for Wireless Systems
PT = L90 - Gm - Gb - Isd + SNR0 + [ -174 dBm/Hz + NF + 10 log B ]
All things being equal, power will scale with channel bandwidth
PT - transmit power
L90 - maximum loss to achieve a given SNR0
Gm - mobile terminal antenna gain
Gb - base antenna gain
Isd - space diversity improvement
SNR0 - required signal to noise ratio
-174 dBm/Hz - thermal noise
NF - noise figure
10 log B - 10 x log of channel bandwidth (in Hz)
For a given distance, frequency and environment

## Slide 18
10 W
1 W
0.1 W
100 W
Traditional MacroCell Systems
In-Building Systems
13 kbps
144 kbps
13 kbps
144 kbps
1.5 Mbps
All things being equal, power will scale with information rate
Terminal Power Requirements for Wireless Systems

## Slide 19
Action Rules for a “Scare” Environment
Public perception of risk is based on perceived level of control of situation – powerlessness increases anxiety, availability of informed choices calms
“Scares” don’t go away – once begun, they can be assuaged only by repeated broad coverage on a wide array of media
Responses much be pro-active, “public team” solution of perceived problem – must avoid direct counterstrikes or categorical denials
Disseminate relevant information before it is required for backup
Avoid backups which can be construed as acknowledgement of problem until scientific data are available and evaluated
Ensure released information is correct and consistent regardless of source
Response in kind – use “reasonable doubt” approach to blunt the thrust of minimally-supported charges
Counter negatives with positives (e.g. benefits of product/service/technology)

## Slide 20
Summary and Recommendations
There is no “Silver Bullet” near-term solution; Prepare for a long-term effort
Advise against design activity for products which may be viewed as an acknowledgement of health risk until scientific data are available and evaluated
Speculating on the merits of some new study that neither demonstrates a hazard nor provides assurance that a hazard does not exist should be left up to the scientific community, e.g., the expert panels that evaluate the literature to develop safety criteria
Support industry wide response initiatives by the IEEE, EEA and others

## Slide 21
Some Health & Safety Considerations for Emerging IEEE 802.11 Wireless Systems
Hearing Aid Compatibility
Presented by:
Donald J. Bowen, Ph.D.
AT&T Labs
973 236 6789 (voice)
djbowen@att.com

## Slide 22
Outline
Review of hearing aids
Review of telephone receivers
The “Telecoil”
Hearing aid “Compatibility”
Challenges to hearing aid users posed by wireless communicators

## Slide 23
Anatomy of the Ear

## Slide 24
Hearing Aids - What’s inside?
Receiver
Microphone
Battery
Turnpot
adjust
Molded shell
Plastic tube
On / Off / TC
switch
Telecoil
Integrated
Circuit
Wiring

## Slide 25
Hearing Aids Styles
ITC (in the canal)
ITE (in the ear)
BTE (behind the ear)

## Slide 26
Telephone Receiver Output
mA/m
dB SPL
Audio output from receiver
Used by ear or hearing aid microphone
Magnetic output from receiver
Used by hearing aid telecoil
Hearing aid “compatible” receiver generates two outputs simultaneously

## Slide 27
Hearing Aids: Microphone Input
Path of direct acoustic input
Path of acoustic feedback
Acoustic Background Noise
Telephone Handset
Use of high-gain hearing aids with telephones can be difficult, owing to feedback and background noise

## Slide 28
Hearing Aids: Telecoil Input
Path of electromagnetic input
Path of acoustic feedback
x
Telecoil input breaks the acoustic feedback loop, and eliminates acoustic background noise
Telephone Handset
Acoustic Background Noise

## Slide 29
Telephone Receiver Evolution
Modulated Electromagnetic Field
Moving Magnet
Moving magnet required substantial electromagnetic field to produce sound
Voice Coil
Fixed Magnet
Higher efficiency moving coil receivers generated weaker electromagnetic fields
Additional windings are added to boost electromagnetic fields for hearing aids
Smaller receivers generate more powerful electromagnetic fields
Receivers evolving to be more like loudspeakers…
Telecoils can’t
pick up the
weaker signal

## Slide 30
Hearing Aid Compatibility - What is it?
A telephone is hearing aid compatible if it provides internal means (i.e., without the use of external devices) for effective use with hearing aids that are designed to be compatible with telephones that meet the FCC's technical standard for hearing aid compatibility (the technical standard is codified at 47 C.F.R. § 68.316). This is usually accomplished by inserting a telecoil in telephones that detects, or is compatible with, a similar telecoil in the hearing aid, and thus allows the hearing aid to "couple" with the telephone through an electromagnetic field.
http://www.fcc.gov/Bureaus/Common_Carrier/FAQ/faq_hac.html

## Slide 31
Electromagnetic
noise from
other sources
Desired electromagnetic signal (modulated)
Radio
Circuitry
Phone
Audio
Wireless Phones and Telecoils: the “Problem”
Telecoil
Powerful electromagnetic
signal from radio
transmitter
Receiver
Incidental electromagnetic noise from phone
Hearing aid

## Slide 32
Hearing Aids: Radio Modulation
FDMA
TDMA
CDMA
“Audio” Energy Envelope
Energy envelope contains little energy at audio frequencies (constant amplitude)
Energy envelope contains substantial energy at audio frequencies
  GSM burst rate = 217 Hz
  IS-136 burst rate = 50 Hz
Energy envelope contains some energy at audio frequencies (especially when “talk activity detection” is employed)
Energy
Time
TDMA Burst Period

## Slide 33
RF Exposure Effects on Electronic Devices
“Antenna”
Concern about Electromagnetic compatibility is not limited to telecoils

## Slide 34
Typical Battery Specifications | 
Volts | 1.4 V
Capacity | 70 mAh
Chemistry | Zinc Air
Weight | 0.012 oz.
Dimensions (D x H) | 5.9 x 3.6 mm
http://www.batteriesplus.com/Product/hearaid.html
Hearing Aids Present Difficult Engineering Challenges
They are each custom assembled
They operate in the presence of sweat, oils, and earwax
They operate 12+ hours per day for several days on a tiny battery

## Slide 35
Methods to improve access for the hearing impaired to wireless communications are being explored. They include:
Improved EMC design for hearing aids
  shorter microphone leads
  shielded case
Improved EMC design for wireless communicators
  reduced spurious emissions
Assisted listening devices for hearing aids
  Hearing Aid Telephone Interconnect System (HATIS)
System improvements for the hearing impaired w/o hearing aids
  enhanced volume controls
EMC Issues Between Hearing Aids and Wireless Phones

## Slide 36
Are all telephones sold in the U.S. required to be hearing aid compatible?
Yes. As of August 16, 1989, all telephones manufactured or imported for use in the U.S. have been required to be hearing aid compatible. Cordless telephones manufactured or imported for use in the U.S. have also been required to be hearing aid compatible since August 16, 1991. Secure telephones are exempt, as are telephones used with public mobile services or private radio services.
Do all HAC phones sold in the U.S. also have volume control?
Not at present. The definition of hearing aid compatibility was recently expanded to include the volume control feature. Manufacturers and importers will be required to ensure that wireline telephones manufactured imported for use in the U.S. after January 1, 2000 contain a volume control feature.
Hearing Aids and Wireless Phones: Additional Notes
http://www.fcc.gov/Bureaus/Common_Carrier/FAQ/faq_hac.html