IEEE 802.3 Ethernet Working Group
Liaison Communication

| Source: | IEEE 802.3 Working Group |  |
| --- | --- | --- |
| To: | John D’Ambrosia | Chair, Ethernet Alliance mailto:jdambrosia@gmail.com |
| CC: | Konstantinos Karachalios | Secretary, IEEE-SA Standards Board Secretary, IEEE-SA Board of Governors sasecretary@ieee.org |
|  | Paul Nikolich | Chair, IEEE 802 LMSC p.nikolich@ieee.org |
|  | Adam Healey | Vice-chair, IEEE 802.3 Ethernet Working Group adam.healey@broadcom.com |
|  | Pete Anslow | Secretary, IEEE 802.3 Ethernet Working Group panslow@ciena.com |
|  | George Zimmerman | Technical Committee Chair mailto:george@cmephyconsulting.com |
|  | Ed Larson | Chair, IEEE-SA SCC-18, mailto:ed.larsen@schneider-electric.com |
| From: | David Law | Chair, IEEE 802.3 Ethernet Working Group dlaw@hpe.com |
| Subject: | 2017 National Electrical Code revisions |  |

Dear Mr. D’Ambrosia,

We are concerned that the 2017 National Electrical Code® revisions in Table 725.144 have effectively created a “new” class of communication cables for operating temperatures greater than 60°C with designated ampacity limits for powering, without consideration for the transmission characteristics related to the application usage.

At this time, no known IEEE 802.3 communications and/or power delivery have been tested on data center or enterprise Ethernet based communications circuits at 90°C conductor temperature.

We are bringing to your attention that the 2017 National Electrical Code® text allows operation of telecommunications systems with conductor temperatures up to 90°C without warning the reader that the communications equipment might not support it, based on no de-rating or available channel models in 802.3 to verify intended operation.

We appreciate the Ethernet Alliance’s assistance in disseminating this information to the Ethernet community.

Sincerely,

David Law

Chair, IEEE 802.3 Ethernet Working Group

This document solely represents the views of the IEEE 802.3 Working Group, and does not necessarily represent a position of the IEEE, the IEEE Standards Association, or IEEE 802.