IEEE 802.3 Ethernet Working Group
Liaison Communication

| Source: | IEEE 802.3 Working Group |  |
| --- | --- | --- |
| To: | Albrecht Oehler | Convenor, ISO/IEC SC25 WG3, albrecht.oehler@fh-reutlingen.de |
| CC: | Konstantinos Karachalios | Secretary, IEEE-SA Standards Board Secretary, IEEE-SA Board of Governors sasecretary@ieee.org |
|  | Paul Nikolich | Chair, IEEE 802 LMSC p.nikolich@ieee.org |
|  | Adam Healey | Vice-chair, IEEE 802.3 Ethernet Working Group adam.healey@broadcom.com |
|  | Pete Anslow | Secretary, IEEE 802.3 Ethernet Working Group panslow@ciena.com |
|  | Alan Flatman | Liaison Officer, IEEE 802.3 to ISO/IEC SC25 WG3. a_flatman@tiscali.co.uk |
| From: | David Law | Chair, IEEE 802.3 Ethernet Working Group dlaw@hpe.com |
| Subject: | Power Delivery over Communications Cabling |  |

Dear Dr Oehler,

We would like to bring to your attention that the USA 2017 National Electrical Code ® revisions in Table 725.144 have effectively created a “new” class of communication cables for operating temperatures greater than 60°C with designated ampacity limits for powering, without consideration for the transmission characteristics related to the application usage.

At this time, no known 802.3 communications and/or power delivery have been tested on data center or enterprise Ethernet based communications circuits at 90°C conductor temperature.

The Table 725.144 2017 National Electrical Code ® revision applies to communication cables carrying power and data with the implication of applicability to balanced twisted pair structured cabling.  IEEE 802.3 would value any observations you may have on this subject.

Sincerely,

David Law

Chair, IEEE 802.3 Ethernet Working Group

This document solely represents the views of the IEEE 802.3 Working Group, and does not necessarily represent a position of the IEEE, the IEEE Standards Association, or IEEE 802.